## LSS parameters
Calculation of LSS parameters
1. Determining LSS parameters based on 2, 3 or 4 initial gradients
| Analytical conditions |  | Gradient conditions | [7 empty] | compound 1 | compound 2 | compound 3 | compound 4
| Column length | 50 | %initial | 5% | [5 empty] | Ce gradient 1 | 54.2% | 18.83% | 26.1% | 35.44%
| Column diameter | 2.1 | %final | 95% | [5 empty] | Ce gradient 2 | 48.31% | 16.8% | 24.36% | 34.23%
| Porosity | 0.62 | Retention times | [6 empty] | Ce gradient 3 | 45.18% | 15.62% | 23.28% | 33.49%
| Flow rate | 0.5 | gradient time | tr1 | tr2 |  | tr3 | tr4 |  | Ce gradient 4
| Dwell volume | 0.1 | 5 | 3.148 | 1.183 |  | 1.587 | 2.106 |  | slope (a) | 0.18978 | 0.067343 | 0.058907 | 0.040881
| t0 | 0.21474 | 10 | 5.227 | 1.726 |  | 2.566 | 3.662 |  | intercept (b) | 0.80963 | 0.28343 | 0.34432 | 0.41222
| Dwell time | 0.2 | 15 | 7.111 | 2.184 |  | 3.462 | 5.163 |  | ki | 830.3864 | 85.6687 | 2539.9259 | 12885389.8629 | original gradient
[10 empty] | ki (%ini) | 830.3864 | 85.6687 | 2539.9259 | 12885389.8629 | other gradient
| LSS compound 1 |  | LSS compound 2 |  |  | LSS compound 3 |  | LSS compound 4 |  |  | log β | slope
| S | 5.2694 | S | 14.8493 |  | S | 16.9759 | S | 24.4612 | gradient 1 | -1.4128 | 18 |  | < 1000 Da
| log k0 (water) | 3.1827 | log k0 (water) | 2.6753 |  | log k0 (water) | 4.2536 | log k0 (water) | 8.3332 | gradient 2 | -1.7138 | 9 |  | 1000 - 10000 Da
| log ki (%ini) | 2.9193 | log ki (%ini) | 1.9328 |  | log ki (%ini) | 3.4048 | log ki (%ini) | 7.1101 | gradient 3 | -1.8899 | 6 |  | > 10000 Da
| min b value | 0.067894 | min b value | 0.19133 |  | min b value | 0.21873 | min b value | 0.31517 | gradient 4
| max b value | 0.20368 | max b value | 0.57398 |  | max b value | 0.65618 | max b value | 0.94552
[10 empty] | ΔΦ | 90% | original gradient |  | average S | #REF!
2. Calculating retention times for any other gradient conditions based on LSS parameters | [9 empty] | ΔΦ | 75% | other gradient
Gradient conditions
| %initial | 5%
| %final | 80%
| Gradient time | 2
| compound 1 |  | compound 2 |  |  | compound 3 |  | compound 4
| log ki (%ini) | 2.9193 | log ki (%ini) | 1.9328 |  | log ki (%ini) | 3.4048 | log ki (%ini) | 7.1101
| tr | 1.8871 | tr | 0.84033 |  | tr | 1.0278 | tr | 1.2615
| Ce | 60.21% | Ce | 20.96% |  | Ce | 27.99% | Ce | 36.75%
| b | 0.42434 | b | 1.1958 |  | b | 1.367 | b | 1.9698
Developed by Davy GUILLARME [davy.guillarme@unige.ch] and Sabine HEINISCH [sabine.heinisch@univ-lyon1.fr]
Note on E7: The retention times have to be entered from smallest to largest.
Note on B17: If log ki < 2.1, it will appear in red.
Note on E17: If log ki < 2.1, it will appear in red.
Note on H17: If log ki < 2.1, it will appear in red.
Note on K17: If log ki < 2.1, it will appear in red.
Note on B18: If the b value is lower than 0.1, it will appear in red.
Note on E18: If the b value is lower than 0.1, it will appear in red.
Note on H18: If the b value is lower than 0.1, it will appear in red.
Note on K18: If the b value is lower than 0.1, it will appear in red.
Note on B19: If the b value is higher than 0.5, it will appear in red.
Note on E19: If the b value is higher than 0.5, it will appear in red.
Note on H19: If the b value is higher than 0.5, it will appear in red.
Note on K19: If the b value is higher than 0.5, it will appear in red.
Note on B31: If b value is outside the range intially tested (extrapolation), the predicted retention times can be less accurate and therefore, the b cell is indicated in red.
Note on E31: If b value is outside the range intially tested (extrapolation), the predicted retention times can be less accurate and therefore, the b cell is indicated in red.
Note on H31: If b value is outside the range intially tested (extrapolation), the predicted retention times can be less accurate and therefore, the b cell is indicated in red.
Note on K31: If b value is outside the range intially tested (extrapolation), the predicted retention times can be less accurate and therefore, the b cell is indicated in red.

## Explanations
Help about the Excel software
1. Determining LSS parameters based on 2, 3 or 4 initial gradients
The user should enter the requested information in all yellow cells:
Column dimensions (length, diameter, porosity) - Standard HPLC column has a porosity of 0.7, while UHPLC column has a porosity of 0.6
Mobile phase flow rate
System dwell volume (gradient delay volume)
Gradient conditions (%initial, %final and gradient times) - up to 4 gradient times can be considered, but only 2 are sufficient for the calculations
Retention times of 4 compounds obtained for the different gradient times - retention times have to be indicated from smallest to largest ones
The excel software will calculate all the values reported in blue cells for the four different compounds:
Column dead time (t0)
System dwell time (tD)
S value (slope of the relationship between log k and % organic solvent)
log k0
log ki - if log ki < 2.1, the cell will appears in red since this means that s and log k0 values may be inaccurate.
Minimum and maximum b values - b values should be comprised between 0.1 and 0.5, otherwise, the values are highlighted in red
2. Calculating retention times for any other gradient conditions based on LSS parameters
The user should enter the requested information in all yellow cells:
Gradient conditions (%initial, %final and gradient time)
The excel software will calculate all the values reported in blue cells for the four different compounds:
log ki of the compound under the selected gradeint conditions
Retention time (tr) of the compound under the selected gradeint conditions
composition at elution (expressed in %B) of the compound under the selected gradeint conditions
b value - if b value is outside the range explored in part 1 of Excel sheet, the cell will appear in red since tr may be inaccurate (extrapolation)